Data File W:\TASIC271 2019-11-01 10-35-01\SIG10001061.D

Sample Name: Helichrysum italicum

Instrument 1 01.11.2019 11:12:24

=====================================================================

Acq. Operator   : Slavoljub Tasic                Seq. Line :   1

Acq. Instrument : Instrument 1                    Location : Vial 101

Injection Date  : 01.11.2019 10:38:48                  Inj :   1

Inj Volume : 2 µl

Acq. Method     : C:\CHEM32\1\DATA\TASIC271 2019-11-01 10-35-01\TASIC4.M

Last changed    : 29.03.2018 12:48:39 by Slavoljub Tasic

Analysis Method : C:\CHEM32\1\METHODS\DEF_GC.M

Last changed    : 01.11.2019 11:11:51

(modified after loading)

Sample Info     : SANICULA CO

=====================================================================

Area Percent Report

=====================================================================

Sorted By             :      Signal

Multiplier:                   :      1.0000

Dilution:                     :      1.0000

Use Multiplier & Dilution Factor with ISTDs

Signal 1: FID1 A, Front Signal

Peak RetTime Type  Width     Area      Height     Area

#   [min]        [min]   [pA*s]      [pA]         %

----|-------|----|-------|----------|----------|--------|

1   5.342 BB    0.0427   65.50238   23.67723  0.37695	3-hexanone

2   6.596 BB    0.0511    8.02430    2.49638  0.04618

3   7.325 BB    0.0491 3441.74268 1017.23907 19.80654	-pinene

4   7.639 BF    0.0475   81.95612   26.92867  0.47164	-fenchene

5   7.668 VB    0.0343   34.51950   16.78349  0.19865	camphene

6   8.426 BB    0.0542   83.64856   24.50718  0.48138	-pinene

7   8.745 BB    0.0456   15.09290    5.24185  0.08686	myrcene

8   9.068 BV    0.0435   22.48323    7.92705  0.12939	hexanyl acetate

9   9.188 VB    0.0689   12.99206    2.77979  0.07477	-phellandrene

10   9.521 BB    0.0510   30.64432    9.35939  0.17635	-terpinene

11   9.771 BV    0.0491   28.67486    9.21124  0.16502	p-cymene

12   9.890 VV    0.0543  827.45044  242.22818  4.76181	limonene

13   9.980 VB    0.0457   44.91713   14.84259  0.25849	1,8-cineole

14  10.095 BB    0.0497    9.22247    2.91231  0.05307	-ocimene, cis

15  10.417 BV    0.0461   14.93290    5.10405  0.08594	-ocimene, trans

16  10.513 VB    0.0466  138.60643   46.73831  0.79765	isobutilangelat ?

17  10.777 BB    0.0499   81.61840   25.67572  0.46970	-terpinene

18  11.697 BV    0.0516   36.41780   10.95470  0.20958	-terpinolene

19  11.781 VB    0.0501   11.52895    3.45435  0.06635

20  11.981 BV    0.0498   27.54712    8.68751  0.15853

21  12.084 VB    0.0559  260.69803   69.23174  1.50026 	linalool

22  12.597 BB    0.0549   10.95950    3.09319  0.06307

23  13.402 BB    0.0543   12.21870    3.50423  0.07032

24  13.574 BV    0.0498   11.58286    3.65573  0.06666

25  13.721 VB    0.0496  333.20532  105.73169  1.91753	Mt=170;2,4dimethyloctan,3-5dion

26  14.286 BB    0.0560   15.41172    4.16141  0.08869	borneole

27  14.614 BB    0.0556   47.73389   13.52366  0.27470	terpinene-4-ol

28  14.859 BB    0.0635  221.05708   53.41269  1.27214	3,4-octan dion

29  15.068 BB    0.0576   72.12249   19.11919  0.41505	-terpineole

30  16.217 BB    0.0557  215.52013   58.56411  1.24028	nerol

31  17.045 BB    0.0478   22.53681    7.34456  0.12969	linalyl acetate

32  17.195 BB    0.0505   12.48290    3.86468  0.07184

33  17.954 BB    0.0509   79.16936   24.23498  0.45560	Mt=184, dione

34  20.513 BV    0.0676 2574.54956  525.55377 14.81602	neryl acetate

35  20.576 VV    0.0448   44.87072   15.19839  0.25822	-ylangene

36  20.716 VV    0.0585   32.48893    8.75752  0.18697

37  20.875 VB    0.0595  414.55917  109.27333  2.38570	-copaene

38  21.748 BB    0.0580  594.84064  159.07024  3.42319	italicene (italicene-iso)

39  22.021 BB    0.0525  136.48657   40.92760  0.78545	bergamotene cis-

40  22.232 BB    0.0541  674.49487  187.06828  3.88158	-caryophyllene

41  22.617 BB    0.0512  127.46485   38.75642  0.73353	bergamotene trans-

42  22.801 BB    0.0795  225.35696   43.60115  1.29688	Mt=210,  italdione

43  23.123 BV    0.0549  245.52097   69.39481  1.41292	neryl propionate

44  23.212 VB    0.0530   76.50232   22.21827  0.44026	-humulene

45  23.365 BV    0.0885   28.55917    4.45142  0.16435

46  23.527 VV    0.0512   44.54390   13.24202  0.25634

47  23.608 VB    0.0667   63.06646   13.65292  0.36293

48  23.849 BV    0.0603  265.27115   68.58309  1.52658	-selinene

49  24.010 VV    0.0640 2290.25781  506.00717 13.17997	-curcumene

50  24.076 VV    0.0459  395.21704  132.94839  2.27439	AR curcumene

51  24.258 VV    0.0772 1348.02307  278.87555  7.75760	-selinene

52  24.501 VB    0.0630  738.82660  174.62585  4.25180	-selinene

53  24.762 BV    0.0524   57.23689   16.87197  0.32939	Mt=224, italdione

54  24.851 VV    0.0512   74.42043   22.58473  0.42827	-cadinene

55  24.981 VV    0.0538   42.21538   12.26238  0.24294

56  25.110 VV    0.0474   10.34844    3.33645  0.05955

57  25.218 VB    0.0575  124.07204   32.98536  0.71401	-cadinene

58  25.420 BV    0.0518   11.03065    3.30368  0.06348

59  25.710 BB    0.0874   31.48433    4.72171  0.18119

60  26.644 BV    0.0768   70.94553   13.43421  0.40828

61  26.809 VF    0.0922  102.33032   16.16915  0.58889	Mt=238,italdione

62  26.860 VB    0.0791   40.75337    8.58442  0.23453	caryophyllene  oxide

63  27.357 BB    0.0519   12.87917    3.76819  0.07412	guaiol

64  27.677 BV    0.0709   63.32938   13.25337  0.36445	naphtalene methanol

65  27.849 VV    0.0711   15.42932    2.96786  0.08879

66  27.995 VB    0.0551   15.86576    4.63518  0.09130

67  28.943 BB    0.1059   35.03224    4.62919  0.20160	-eudesmol

68  30.718 BB    0.0550   16.30448    4.59578  0.09383

Totals :                  1.73768e4  4456.50075

=====================================================================

*** End of Report ***