Data File W:\TASIC252 2019-08-16 12-52-43\SIG10001017.D

Sample Name: Lavandula sp

Instrument 1 16.08.2019 13:27:31

=====================================================================

Acq. Operator   : Slavoljub Tasic                Seq. Line :   2

Acq. Instrument : Instrument 1                    Location : Vial 102

Injection Date  : 16.08.2019 12:56:34                  Inj :   1

Inj Volume : 2 µl

Acq. Method     : C:\CHEM32\1\DATA\TASIC252 2019-08-16 12-52-43\TASIC4.M

Last changed    : 29.03.2018 12:48:39 by Slavoljub Tasic

Analysis Method : C:\CHEM32\1\METHODS\DEF_GC.M

Last changed    : 16.08.2019 12:57:16

(modified after loading)

Sample Info     : SANICULA CO

=====================================================================

Area Percent Report

=====================================================================

Sorted By             :      Signal

Multiplier:                   :      1.0000

Dilution:                     :      1.0000

Use Multiplier & Dilution Factor with ISTDs

Signal 1: FID1 A, Front Signal

Peak RetTime Type  Width     Area      Height     Area

#   [min]        [min]   [pA*s]      [pA]         %

----|-------|----|-------|----------|----------|--------|

1   7.001 BV    0.0466    9.51331    3.13533  0.06120

2   7.087 VB    0.0503   37.84218   11.76947  0.24345	-thujene

3   7.276 BB    0.0503  107.50761   33.40399  0.69162	-pinene

4   7.671 BB    0.0525  120.09400   35.98798  0.77259	camphene

5   8.301 BV    0.0545   31.20427    9.07923  0.20074	-pinene

6   8.408 VV    0.0495   40.43027   12.57629  0.26010

7   8.468 VB    0.0431   26.72455    9.31193  0.17192	octen-3-ol

8   8.618 BV    0.0433   78.90433   28.64971  0.50761

9   8.728 VB    0.0480  246.58167   79.88654  1.58631	myrcene

10   9.158 BV    0.0529   39.31659   11.67798  0.25293	-phellandrene

11   9.324 VB    0.0559  342.86368   96.50008  2.20572	3-carene

12   9.506 BB    0.0505   15.03803    4.65250  0.09674

13   9.671 BV    0.0476   24.15608    7.90670  0.15540	o-cymene

14   9.760 VV    0.0522   70.49478   20.46852  0.45351	p-cymene

15   9.892 VV    0.0657  470.66714  112.18019  3.02791	limonene

16   9.969 VV    0.0474  616.11853  198.63820  3.96363	1,8-cineole

17  10.105 VB    0.0501 1113.15100  340.42856  7.16115	cis--ocimene

18  10.413 BB    0.0474  484.69345  159.54958  3.11814	trans--ocimene

19  10.767 BB    0.0516   38.65635   11.88138  0.24868	-terpinene

20  11.094 BV    0.0514    9.35012    2.88458  0.06015

21  11.217 VB    0.0511   28.95370    8.64254  0.18627	linalool oxide trans

22  11.607 BV    0.0552   28.37428    7.66261  0.18254

23  11.694 VB    0.0612   54.21708   13.75188  0.34879	linalool oxide cis

24  12.194 BV    0.0757 3792.56519  660.99530 24.39841	linalool

25  12.374 VB    0.0462   96.59902   32.23817  0.62144	octenyl acetate

26  12.958 BB    0.0483  247.14209   79.46320  1.58992	camphor

27  13.541 BB    0.0572   85.34402   23.24903  0.54904

28  13.704 BB    0.0555    7.40121    2.10086  0.04761

29  14.099 BV    0.0572   10.37832    2.88468  0.06677

30  14.298 VB    0.0698  474.74725   95.86976  3.05415	borneol

31  14.646 BB    0.0554  770.63568  210.97148  4.95767	terpinene-4-ol

32  14.806 BV    0.0529   15.44965    4.68605  0.09939

33  14.929 VV    0.0636   97.28825   24.66996  0.62588	lavandulol

34  15.076 VB    0.0535  226.95168   66.29941  1.46003	-terpineol

35  15.627 BB    0.0650   14.99150    3.45387  0.09644

36  16.215 BB    0.0600   45.50342   11.64723  0.29273	hexyl isovalerate

37  16.637 BB    0.0576   12.07640    3.38282  0.07769

38  17.088 BB    0.0680 3097.26660  618.44647 19.92540	linalyl acetate

39  18.021 BV    0.0470   39.49184   12.85718  0.25406

40  18.135 VB    0.0531  730.64459  211.36452  4.70040	lavandulyl acetate

41  20.407 BB    0.0529   90.73840   26.93681  0.58374	neryl acetate

42  21.001 BB    0.0524  154.67032   46.46998  0.99503	geranyl acetate

43  21.228 BB    0.0462    7.14790    2.55587  0.04598

44  22.002 BV    0.0540   17.40577    5.02527  0.11198

45  22.218 VB    0.0636  743.13641  170.54446  4.78076	-caryophyllene

46  22.606 BB    0.0523   38.67608   11.66674  0.24881	trans--bergamotene

47  22.980 BB    0.0694   23.94840    4.86353  0.15407

48  23.198 BB    0.0521  391.23865  116.24162  2.51692	trans--farnesene

49  23.490 BB    0.0582    9.98141    2.70748  0.06421

50  24.023 BB    0.0687   51.81351   10.97161  0.33333

51  24.971 BB    0.0560  106.39290   30.40261  0.68445

52  26.962 BB    0.0592   56.87021   15.09068  0.36586	caryophyllene oxide

53  28.544 BB    0.0578   52.96516   14.50670  0.34074

Totals :                  1.55443e4  3743.18913

=====================================================================

*** End of Report ***