Data File W:\TASIC241 2019-06-24 12-57-46\SIG10000946.D

Sample Name: Thymus sp, T1, Francuski

Instrument 1 24.06.2019 22:19:48

=====================================================================

Acq. Operator   : Slavoljub Tasic                Seq. Line :   4

Acq. Instrument : Instrument 1                    Location : Vial 104

Injection Date  : 24.06.2019 15:52:39                  Inj :   1

Inj Volume : 2 µl

Acq. Method     : C:\CHEM32\1\DATA\TASIC241 2019-06-24 12-57-46\TASIC4.M

Last changed    : 29.03.2018 12:48:39 by Slavoljub Tasic

Analysis Method : C:\CHEM32\1\METHODS\DEF_GC.M

Last changed    : 24.06.2019 21:17:00

(modified after loading)

Sample Info     : SANICULA CO

=====================================================================

Area Percent Report

=====================================================================

Sorted By             :      Signal

Multiplier:                   :      1.0000

Dilution:                     :      1.0000

Use Multiplier & Dilution Factor with ISTDs

Signal 1: FID1 A, Front Signal

Peak RetTime Type  Width     Area      Height     Area

#   [min]        [min]   [pA*s]      [pA]         %

----|-------|----|-------|----------|----------|--------|

1   7.107 BB    0.0500   22.14244    6.95301  0.14492	-thujene

2   7.296 BB    0.0511   48.45849   15.05982  0.31717	-pinene

3   7.692 BB    0.0525   28.01522    8.39210  0.18336	camphene

4   8.322 BV    0.0529   37.70297   11.43847  0.24677	sabinene

5   8.427 VV    0.0480   18.83472    6.11043  0.12328	-pinene

6   8.493 VB    0.0475   60.21952   19.34681  0.39414	3 octanol

7   8.747 BB    0.0485  137.74960   44.04795  0.90159	-myrcene

8   9.526 BB    0.0586  112.41853   28.65465  0.73579	-terpinene

9   9.777 BV    0.0494  138.45213   44.17786  0.90618	p-cymene

10   9.886 VV    0.0525  119.58661   35.16796  0.78271	limonene

11   9.983 VB    0.0470   91.80123   30.58978  0.60085	1,8-cineole

12  10.103 BB    0.0478    7.07980    2.35932  0.04634	-ocimene, cis

13  10.424 BB    0.0490   17.07465    5.38885  0.11176	-ocimene, trans

14  10.788 BB    0.0499  220.64827   69.33971  1.44417	-terpinene

15  11.133 BV    0.0574  297.00699   82.01601  1.94394	sabinene hydrate cis

16  11.253 VB    0.0523   36.71147   10.83064  0.24028

17  11.715 BB    0.0878   73.95015   13.68488  0.48401	-terpinolene

18  12.353 BB    0.1177 1.16881e4  1242.69910 76.50000	linalool

19  12.892 BB    0.0475   18.34109    6.16229  0.12004

20  13.446 BB    0.0524   10.39371    3.12463  0.06803

21  14.321 BB    0.0579   59.98683   16.07013  0.39262	borneol

22  14.660 BB    0.0536  335.85437   98.06137  2.19820	1-terpinene-4-ol

23  15.101 BB    0.0528  125.06207   37.17566  0.81854	-terpineole

24  16.242 BV    0.0586  126.18650   32.70335  0.82590	nerol

25  16.394 VB    0.0548   44.54309   12.60349  0.29154

26  16.695 BB    0.0532   15.18576    4.38067  0.09939

27  17.049 BB    0.0541  792.02454  228.05461  5.18388	linalyl acetate

28  18.041 BB    0.0535   10.84694    3.11167  0.07099

29  18.493 BB    0.0575  100.70506   26.76572  0.65913	thymol

30  18.802 BB    0.0621   15.25950    3.72996  0.09987

31  19.636 BB    0.0526   12.39375    3.70745  0.08112

32  19.934 BV    0.0530   76.69552   22.68911  0.50198

33  20.021 VB    0.0529   42.70118   12.66570  0.27948

34  20.429 BB    0.0526   16.90158    4.95841  0.11062	neryl acetate

35  21.018 BV    0.0532   27.72662    8.16945  0.18147	geranyl acetate

36  21.153 VB    0.0573   10.51291    2.80488  0.06881

37  22.221 BB    0.0555  226.32283   64.25819  1.48131	-caryophyllene

38  24.039 BB    0.0544   19.07891    5.57082  0.12487	germacrene D

39  24.487 BB    0.0592   18.13849    4.80944  0.11872

40  26.985 BB    0.0555   17.75572    5.03542  0.11621	caryophyllene oxyde

Totals :                  1.52786e4  2282.86977

=====================================================================

*** End of Report ***